## Slide 1: To register your vote and questions go to:
“Renewable energy technologies can provide a reliable, low cost electricity supply for NZ without burning fossil fuels”
Moderator: John Blundell
Speakers (in order)
Bryan Leyland
John Irving
John Boys
Robert Tromop

## Slide 2: The NZ system

## Slide 3: New generation is needed
Dry year risk
2022

## Slide 4: New Zealand’s Low Cost Options
Hydropower
Geothermal
Gas
Coal

## Slide 6
Coal
Renewables
Hydro
Gas
Nuclear
Oil
World Energy 09 - 18

## Slide 7
Europe
USA
China

## Slide 9: Recent NZ wind
CF Normally 37%: why did it drop to 24%??
Capacity
MW
700
200

## Slide 11: ICCC Report
Prioritises the accelerated electrification of transport and process heat over pursuing 100% renewable electricity …greater emissions savings while keeping electricity prices affordable

## Slide 12
7000 GWh = 16% of annual energy
= 2500 MW of gas turbines!
Gas use from dry to wet years
for 99% renewable
Dry
Wet
Gas
is
essential!

## Slide 14: There
The cost per kW in $NZ, using US costs, for building each type of power plant:
      • PV Solar: $1,300
• Wind: $2,600
• Coal: $4,000
• Natural Gas: $1,500
Cost in cents per kWh:
• PV Solar: 20
• Wind: 7.2
• Coal: 6.0
• Natural Gas: 2.5
Wind and PV Solar are more expensive and need backup
Renewable energy technologies
CANNOT provide
a reliable and economic supply

## Slide 15: Te Apiti ~ 0 kW on 4 peak days
Max output
Max output

## Slide 16: Grim Gas outlook 2018 - 2030
Grim Gas outlook 2018 - 2030

## Slide 17
https://www.thegwpf.com/green-stagnation-the-world-cools-on-renewable-energy/
Renewables added 2015-2018
Other
Japan
India
EU
USA
China
100 GW
World installed capacity 6500 GW

## Slide 20: Wind is least when we need it most